## SUMMARY
SUMMARY | PPB
n-pentane | 154.1072
n-heptane | 151.0129
n-octane | 131.0063
toluene | 132.5237
n-nonane | 95.2257
ethylbenzene | 107.461
mpxylene | 128.6223
oxylene | 125.0822
1025.0413

## DATA FROM PROCESSED SHEET
Filename | No | date&time | Sample Type | WAS SET | WAS CASE | CAN NO. | WAS date | WAS start-sample time | WAS end-sample time | WAS mid-sample date&time | GC method | Markes method | comments | comments2 | comments3 | comments4 | comments5 | TRAP FIRE TIME | CIA ADVANTAGE DEVIATION | COLLECTION TUBE | CYCLE COUNT | INJECTION COUNT | MAXIMUM FLOW | METHOD NAME | MINIMUM FLOW | POST SAMPLE CANISTER PRESSURE | PRE SAMPLE CANISTER PRESSURE | SAMPLE CHANNEL | SAMPLE GAS | SAMPLE NAME | SAMPLE PRESSURE | SAMPLE TYPE | SAMPLE VOLUME | SAMPLING END TIME | SAMPLING START TIME | mid sample time | UNITY DEVIATION | UNNAMED: 18 | UNNAMED: 19 | date | time | methane | methane | ethane | ethane | ethene | ethene | propane | propane | propene | propene | iso-butane | iso-butane | n-butane | n-butane | acetylene | acetylene | acetylene2 | acetylene2 | trans-2-butene | trans-2-butene | 1-butene | 1-butene | iso-butene | iso-butene | cis-2-butene | cis-2-butene | cyclo-pentane | cyclo-pentane | iso-pentane | iso-pentane | n-pentane | n-pentane | 13-butadiene | 13-butadiene | trans-2-pentene | trans-2-pentene | cis-2-pentene | cis-2-pentene | 23-methylpentanes | 23-methylpentanes | n-hexane | n-hexane | isoprene | isoprene | n-heptane | n-heptane | DMS | DMS | benzene | benzene | n-octane | n-octane | toluene | toluene | 1-octene | 1-octene | n-nonane | n-nonane | ethylbenzene | ethylbezene | mpxylene | mpxylene | oxylene | oxylene | isopreneb | isopreneb | benzeneb | benzeneb | tolueneb | tolueneb | acetaldehyde | acetaldehyde | methanol | methanol | acetone | acetone | Split Ratio benzene | Split Ratio toluene | wd
AREAS
20160224.0029 |  | 2016-02-26 10:38 | H-182 - LARGE (35L) CANISTER - DILUTED MID-WEIGHT STOCK | [7 empty] | LABGCFID-2V | SAMPLE-(10)-0.1-5--20-300C | Cylinder prepared for Pete and Katie |  |  |  |  | 2016-02-26 10:45 |  | - | 1 | 1 | 76.5 | C:\Program Files (x86)\Markes International\Bonanza\Methods\SAMPLE-(800)-10-10--20-300C.mth | 9.8 | 31.3 | 31 | 6 | N2 | Sample02_1 |  | Channel6 | 104.3 | 2016-02-26 10:43 | 2016-02-26 10:33 | 2016-02-26 10:38 |  |  |  | 160226 | 1045 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | nan | nan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 927 | 385 | 2261792 | 934210 | 0 | 0 | 0 | 0 | 0 | 0 | 1506 | 599 | 0 | 0 | 0 | 0 | 2630245 | 785821 | nan | nan | 622 | 266 | 2871454 | 574401 | 2454338 | 371201 | 0 | 0 | 2328862 | 198601 | 2561928 | nan | 2839747 | 179777 | 2688284 | 135948 | 2362 | 604 | 14136 | 1772 | 821335 | 299998 | 0 | 0 | 0 | 0 | 0 | 0
20160224.003 |  | 2016-02-26 11:38 | H-182 - LARGE (35L) CANISTER - DILUTED MID-WEIGHT STOCK | [7 empty] | LABGCFID-2V | SAMPLE-(10)-0.1-5--20-300C | Cylinder prepared for Pete and Katie |  |  |  |  | 2016-02-26 11:44 |  | - | 1 | 2 | 79.9 | C:\Program Files (x86)\Markes International\Bonanza\Methods\SAMPLE-(800)-10-10--20-300C.mth | 9.8 | 31.2 | 30.9 | 6 | N2 | Sample02_1 |  | Channel6 | 104.8 | 2016-02-26 11:43 | 2016-02-26 11:33 | 2016-02-26 11:38 |  |  |  | 160226 | 1144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | nan | nan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 593 | 261 | 2274736 | 943895 | 0 | 0 | 0 | 0 | 0 | 0 | 1359 | 565 | 0 | 0 | 0 | 0 | 2657688 | 787629 | nan | nan | 750 | 279 | 2897272 | 580793 | 2470708 | 373476 | 0 | 0 | 2368038 | 203266 | 2580553 | nan | 2861117 | 182495 | 2703838 | 136474 | 1960 | 597 | 11658 | 1609 | 825935 | 305033 | 0 | 0 | 0 | 0 | 0 | 0
20160224.0031 |  | 2016-02-26 12:22 | H-182 - LARGE (35L) CANISTER - DILUTED MID-WEIGHT STOCK | [7 empty] | LABGCFID-2V | SAMPLE-(10)-0.1-5--20-300C | Cylinder prepared for Pete and Katie |  |  |  |  | 2016-02-26 12:39 |  | - | 1 | 3 | 76.4 | C:\Program Files (x86)\Markes International\Bonanza\Methods\SAMPLE-(800)-10-10--20-300C.mth | 9.8 | 0.2 | 31 | 6 | N2 | Sample02_1 |  | Channel6 | 104.1 | 2016-02-26 12:27 | 2016-02-26 12:17 | 2016-02-26 12:22 |  |  |  | 160226 | 1238 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | nan | nan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2256585 | 924230 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2677615 | 789204 | nan | nan | 521 | 257 | 2953576 | 585984 | 2504936 | 380275 | 0 | 0 | 2435664 | 208934 | 2660110 | nan | 2961930 | 189007 | 2782832 | 140432 | 951144 | 376381 | 1761 | 579 | 803078 | 320193 | 949241 | 317635 | 0 | 0 | 0 | 0
AVERAGE | [43 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 506.6667 | 215.3333 | 2264371 | 934111.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 955 | 388 | 0 | 0 | 0 | 0 | 2655182.6667 | 787551.3333 | #DIV/0! | #DIV/0! | 631 | 267.3333 | 2907434 | 580392.6667 | 2476660.6667 | 374984 | 0 | 0 | 2377521.3333 | 203600.3333 | 2600863.6667 | #DIV/0! | 2887598 | 183759.6667 | 2724984.6667 | 137618 | 318488.6667 | 125860.6667 | 9185 | 1320 | 816782.6667 | 308408 | 316413.6667 | 105878.3333 | 0 | 0 | 0 | 0
STDEV | [43 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 469.4916 | 196.5206 | 9346.2897 | 9832.8688 | 0 | 0 | 0 | 0 | 0 | 0 | 830.3138 | 336.4476 | 0 | 0 | 0 | 0 | 23784.1701 | 1692.8368 | #DIV/0! | #DIV/0! | 114.765 | 11.0604 | 41993.5162 | 5801.868 | 25818.89 | 4721.2199 | 0 | 0 | 54028.8535 | 5174.6069 | 52147.0868 | #DIV/0! | 65254.1485 | 4743.1805 | 50697.3097 | 2451.1459 | 547895.6274 | 216956.9729 | 6547.6678 | 646.8794 | 12089.3927 | 10512.0157 | 548044.5469 | 183386.6528 | 0 | 0 | 0 | 0
%STDEV | [43 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.92663 | 0.91263 | 0.0041275 | 0.010526 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.86944 | 0.86713 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.0089576 | 0.0021495 | #DIV/0! | #DIV/0! | 0.18188 | 0.041373 | 0.014443 | 0.0099965 | 0.010425 | 0.01259 | #DIV/0! | #DIV/0! | 0.022725 | 0.025416 | 0.02005 | #DIV/0! | 0.022598 | 0.025812 | 0.018605 | 0.017811 | 1.7203 | 1.7238 | 0.71287 | 0.49006 | 0.014801 | 0.034085 | 1.7321 | 1.7321 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
N | [43 empty] | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 0 | 0 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 0 | 0 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 0 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
CALIBRATIONS
20160224.0193 |  | 2016-03-04 12:42 | D994124 - NPL30 mix | [7 empty] | VALVE-2-HC | SAMPLE-(800)-20-35--20-300C | [5 empty] | 2016-03-04 12:54 |  | - | 1 | 1 | 79.9 | C:\Program Files (x86)\Markes International\Bonanza\Methods\SAMPLE-(800)-20-35--20-300C.mth | 35.1 | 42.6 | 44 | 11 | AIR | Sample04_1 |  | Channel11 | 705.3 | 2016-03-04 12:52 | 2016-03-04 12:32 | 2016-03-04 12:42 |  |  |  | 160304 | 1253 | 913 | 482 | 165561 | 49412 | 141937 | 39478 | 246229 | 62413 | 233903 | 114874 | 339292 | 152453 | 325166 | 160790 | 124463 | 63553 | nan | nan | 312119 | 169132 | 311264 | 164422 | 465 | 245 | 315365 | 164598 | 0 | 0 | 413424 | 182307 | 411218 | 183688 | 330291 | 146951 | 384244 | 166937 | 391628 | 165904 | 490521 | 179650 | 475711 | 170998 | 386256 | 157635 | 491971 | 145571 | nan | nan | 426064 | 144908 | 601974 | 136902 | 508773 | 106745 | 0 | 0 | 0 | 0 | 596306 | nan | 1193214 | 101773 | 593187 | 47566 | 444 | 262 | 162865 | 69880 | 210557 | 86617 | 0 | 0 | 2037 | 412 | 0 | 0
20160224.0194 |  | 2016-03-04 13:21 | D994124 - NPL30 mix | [7 empty] | VALVE-2-HC | SAMPLE-(800)-20-35--20-300C | [5 empty] | 2016-03-04 13:39 |  | - | 1 | 2 | 53.2 | C:\Program Files (x86)\Markes International\Bonanza\Methods\SAMPLE-(800)-20-35--20-300C.mth | 35.1 | 40.7 | 42.4 | 11 | AIR | Sample04_1 |  | Channel11 | 704.4 | 2016-03-04 13:31 | 2016-03-04 13:11 | 2016-03-04 13:21 |  |  |  | 160304 | 1339 | 0 | 0 | 167475 | 50041 | 140615 | 39413 | 249329 | 62720 | 234414 | 116554 | 337756 | 152643 | 324118 | 160794 | 125959 | 63605 | nan | nan | 313104 | 167379 | 311469 | 165579 | 417 | 251 | 315610 | 164701 | 0 | 0 | 413247 | 181884 | 411259 | 183028 | 315743 | 147882 | 378227 | 163703 | 382490 | 159235 | 458584 | 158635 | 450243 | 153286 | 380399 | 151448 | 479785 | 135563 | nan | nan | 424630 | 140586 | 608927 | 137438 | 521754 | 105048 | 0 | 0 | 0 | 0 | 629021 | nan | 1293544 | 90824 | 613460 | 44545 | 120 | 47 | 166435 | 75838 | 190163 | 85785 | 0 | 0 | 0 | 0 | 0 | 0
20160224.0195 |  | 2016-03-04 14:44 | D994124 - NPL30 mix | [7 empty] | VALVE-2-HC | SAMPLE-(800)-20-35--20-300C | [5 empty] | 2016-03-04 14:56 |  | - | 1 | 3 | 57.5 | C:\Program Files (x86)\Markes International\Bonanza\Methods\SAMPLE-(800)-20-35--20-300C.mth | 35.1 | 38.9 | 40.5 | 11 | AIR | Sample04_1 |  | Channel11 | 704.6 | 2016-03-04 14:54 | 2016-03-04 14:34 | 2016-03-04 14:44 |  |  |  | 160304 | 1456 | 0 | 0 | 164565 | 49319 | 141049 | 39584 | 246587 | 62345 | 234690 | 115761 | 337575 | 153048 | 324690 | 161401 | 122671 | 62641 | nan | nan | 312720 | 168332 | 312162 | 164245 | 0 | 0 | 316368 | 164076 | 0 | 0 | 415020 | 181756 | 412175 | 182932 | 313762 | 149370 | 383196 | 166472 | 386995 | 162537 | 469254 | 164551 | 459678 | 158219 | 383278 | 154281 | 493303 | 144101 | nan | nan | 433332 | 146817 | 635894 | 139216 | 527551 | 107303 | 0 | 0 | 0 | 0 | 744509 | nan | 1245647 | 96563 | 612903 | 47553 | 1293 | 216 | 164771 | 73744 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20160224.0196 |  | 2016-03-04 15:24 | D994124 - NPL30 mix | [7 empty] | VALVE-2-HC | SAMPLE-(800)-20-35--20-300C | [5 empty] | 2016-03-04 15:42 |  | - | 1 | 4 | 79.9 | C:\Program Files (x86)\Markes International\Bonanza\Methods\SAMPLE-(800)-20-35--20-300C.mth | 35.1 | 37 | 38.7 | 11 | AIR | Sample04_1 |  | Channel11 | 705 | 2016-03-04 15:34 | 2016-03-04 15:14 | 2016-03-04 15:24 |  |  |  | 160304 | 1541 | 0 | 0 | 166861 | 50101 | 142054 | 39670 | 249915 | 62555 | 234083 | 116685 | 339873 | 153599 | 324625 | 160766 | 121435 | 62166 | nan | nan | 312737 | 167571 | 312133 | 165628 | 660 | 257 | 315991 | 164767 | 0 | 0 | 412920 | 181596 | 411297 | 183095 | 311610 | 148259 | 378419 | 164160 | 382141 | 160603 | 460685 | 159190 | 450908 | 153775 | 378306 | 152167 | 483316 | 136601 | nan | nan | 426363 | 141737 | 606825 | 137576 | 526959 | 105511 | 0 | 0 | 0 | 0 | 618354 | nan | 1289103 | 91520 | 615850 | 44534 | 245 | 66 | 166132 | 75637 | 190550 | 87208 | 0 | 0 | 0 | 0 | 0 | 0
20160224.0197 |  | 2016-03-04 16:47 | D994124 - NPL30 mix | [7 empty] | VALVE-2-HC | SAMPLE-(800)-20-35--20-300C | [5 empty] | 2016-03-04 16:59 |  | - | 1 | 5 | 79.9 | C:\Program Files (x86)\Markes International\Bonanza\Methods\SAMPLE-(800)-20-35--20-300C.mth | 35.1 | 35.1 | 36.7 | 11 | AIR | Sample04_1 |  | Channel11 | 704.9 | 2016-03-04 16:57 | 2016-03-04 16:37 | 2016-03-04 16:47 |  |  |  | 160304 | 1659 | 0 | 0 | 164845 | 49148 | 141355 | 39195 | 246588 | 62206 | 234704 | 116397 | 339717 | 152926 | 324982 | 160475 | 118118 | 61079 | nan | nan | 312626 | 167916 | 311936 | 164422 | 0 | 0 | 315807 | 164702 | 0 | 0 | 414113 | 180313 | 411138 | 183226 | 312261 | 149582 | 382779 | 167006 | 386804 | 163419 | 469067 | 164070 | 457796 | 158831 | 380801 | 154348 | 494712 | 143758 | nan | nan | 432658 | 146602 | 653411 | 139078 | 531344 | 108227 | 0 | 0 | 0 | 0 | 800212 | nan | 1264554 | 97669 | 614577 | 47497 | 1701 | 205 | 164243 | 73839 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AVERAGE | [43 empty] | 165861.4 | 49604.2 | 141402 | 39468 | 247729.6 | 62447.8 | 234358.8 | 116054.2 | 338842.6 | 152933.8 | 324716.2 | 160845.2 | 122529.2 | 62608.8 | #DIV/0! | #DIV/0! | 312661.2 | 168066 | 311792.8 | 164859.2 | 308.4 | 150.6 | 315828.2 | 164568.8 | 0 | 0 | 413744.8 | 181571.2 | 411417.4 | 183193.8 | 316733.4 | 148408.8 | 381373 | 165655.6 | 386011.6 | 162339.6 | 469622.2 | 165219.2 | 458867.2 | 159021.8 | 381808 | 153975.8 | 488617.4 | 141118.8 | #DIV/0! | #DIV/0! | 428609.4 | 144130 | 621406.2 | 138042 | 523276.2 | 106566.8 | 0 | 0 | 0 | 0 | 677680.4 | #DIV/0! | 1257212.4 | 95669.8 | 609995.4 | 46339 | 760.6 | 159.2 | 164889.2 | 73787.6 | 118254 | 51922 | 0 | 0 | 407.4 | 82.4 | 0 | 0
STDEV | [43 empty] | 1265.5895 | 437.0363 | 603.6381 | 181.5998 | 1746.0412 | 197.3771 | 359.0692 | 749.0091 | 1097.243 | 439.1261 | 399.9427 | 338.3426 | 3007.4564 | 1051.3473 | #DIV/0! | #DIV/0! | 353.7283 | 697.6041 | 405.2859 | 683.5011 | 295.8721 | 137.5438 | 380.9537 | 282.0491 | 0 | 0 | 835.5715 | 751.1789 | 427.6006 | 296.2519 | 7743.872 | 1086.9042 | 2835.7644 | 1595.4264 | 3889.7986 | 2576.9817 | 12638.4242 | 8510.5535 | 10286.4493 | 7150.8491 | 3049.9565 | 2412.6207 | 6641.9455 | 4662.5746 | #DIV/0! | #DIV/0! | 4063.7148 | 2838.2399 | 22249.4708 | 1040.8103 | 8797.5313 | 1299.1802 | 0 | 0 | 0 | 0 | 89427.6337 | #DIV/0! | 40683.0686 | 4548.249 | 9463.711 | 1642.9204 | 697.1817 | 96.3935 | 1454.5601 | 2392.6085 | 108265.2723 | 47400.7799 | 0 | 0 | 910.9741 | 184.252 | 0 | 0
%STDEV | [43 empty] | 0.0076304 | 0.0088105 | 0.004269 | 0.0046012 | 0.0070482 | 0.0031607 | 0.0015321 | 0.006454 | 0.0032382 | 0.0028713 | 0.0012317 | 0.0021035 | 0.024545 | 0.016792 | #DIV/0! | #DIV/0! | 0.0011313 | 0.0041508 | 0.0012999 | 0.004146 | 0.95938 | 0.91331 | 0.0012062 | 0.0017139 | #DIV/0! | #DIV/0! | 0.0020195 | 0.0041371 | 0.0010393 | 0.0016172 | 0.024449 | 0.0073237 | 0.0074357 | 0.009631 | 0.010077 | 0.015874 | 0.026912 | 0.051511 | 0.022417 | 0.044968 | 0.0079882 | 0.015669 | 0.013593 | 0.03304 | #DIV/0! | #DIV/0! | 0.0094812 | 0.019692 | 0.035805 | 0.0075398 | 0.016812 | 0.012191 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.13196 | #DIV/0! | 0.03236 | 0.047541 | 0.015514 | 0.035454 | 0.91662 | 0.60549 | 0.0088214 | 0.032426 | 0.91553 | 0.91292 | #DIV/0! | #DIV/0! | 2.2361 | 2.2361 | #DIV/0! | #DIV/0!
N | [43 empty] | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 0 | 0 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 0 | 0 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 0 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Mixing ratio NPL (ppbv) | [43 empty] | 4.01 | 4.01 | 3.86 | 3.86 | 4.04 | 4.04 | 3.97 | 3.97 | 4.15 | 4.15 | 3.93 | 3.93 | 4.08 | 4.08 |  |  | 4.08 | 4.08 | 3.92 | 3.92 |  |  | 3.93 | 3.93 | 3.98 | 3.98 | 4 | 4 | 4 | 4 | 3.92 | 3.92 | 3.92 | 3.92 | 3.93 | 3.93 | 4.02 | 4.02 | 3.94 | 3.94 | 3.98 | 3.98 | 3.97 | 3.97 |  |  | 4.01 | 4.01 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4.01 | 4.01 | 4 | 4 | [9 empty] | ace/eta
RF | [43 empty] | 41361.9451 | 12370.1247 | 36632.6425 | 10224.8705 | 61319.2079 | 15457.3762 | 59032.4433 | 29232.796 | 81648.8193 | 36851.5181 | 82624.9873 | 40927.5318 | 30031.6667 | 15345.2941 | #DIV/0! | #DIV/0! | 76632.6471 | 41192.6471 | 79538.9796 | 42055.9184 | #DIV/0! | #DIV/0! | 80363.4097 | 41875.0127 | 0 | 0 | 103436.2 | 45392.8 | 102854.35 | 45798.45 | 80799.3367 | 37859.3878 | 97289.0306 | 42259.0816 | 98221.7812 | 41307.7863 | 116821.4428 | 41099.3035 | 116463.7563 | 40360.8629 | 95931.6583 | 38687.3869 | 123077.4307 | 35546.2972 | #DIV/0! | #DIV/0! | 106885.1372 | 35942.6434 | 155351.55 | 34510.5 | 130819.05 | 26641.7 | 0 | 0 | 174770.4937 | 0 | 169420.1 | #DIV/0! | 314303.1 | 23917.45 | 152498.85 | 11584.75 | 190.15 | 39.8 | 41119.5012 | 18400.8978 | 29563.5 | 12980.5 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
CONCENTRATIONS
20160224.0029 |  | 2016-02-26 10:38 | H-182 - LARGE (35L) CANISTER - DILUTED MID-WEIGHT STOCK | [7 empty] | LABGCFID-2V | SAMPLE-(10)-0.1-5--20-300C | Cylinder prepared for Pete and Katie |  |  |  |  | 2016-02-26 10:45 |  | - | 1 | 1 | 76.5 | C:\Program Files (x86)\Markes International\Bonanza\Methods\SAMPLE-(800)-10-10--20-300C.mth | 9.8 | 31.3 | 31 | 6 | N2 | Sample02_1 |  | Channel6 | 104.3 | 2016-02-26 10:43 | 2016-02-26 10:33 | 2016-02-26 10:38 |  |  |  | 160226 | 1045 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | 0.062734 | 0.059371 | 153.9317 | 142.788 | 0 | 0 | 0 | 0 | 0 | 0 | 0.09024 | 0.10202 | 0 | 0 | 0 | 0 | 149.5946 | 154.7488 | #VALUE! | #VALUE! | 0.040735 | 0.051805 | 129.3851 | 116.5097 | 131.3292 | 97.5316 | #DIV/0! | #DIV/0! | 93.2768 | #DIV/0! | 105.8522 | #VALUE! | 126.4908 | 52.6159 | 123.3976 | 82.1456 | 86.9524 | 106.2312 | 2.4064 | 0.6741 | 194.4744 | 161.7801 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
20160224.003 |  | 2016-02-26 11:38 | H-182 - LARGE (35L) CANISTER - DILUTED MID-WEIGHT STOCK | [7 empty] | LABGCFID-2V | SAMPLE-(10)-0.1-5--20-300C | Cylinder prepared for Pete and Katie |  |  |  |  | 2016-02-26 11:44 |  | - | 1 | 2 | 79.9 | C:\Program Files (x86)\Markes International\Bonanza\Methods\SAMPLE-(800)-10-10--20-300C.mth | 9.8 | 31.2 | 30.9 | 6 | N2 | Sample02_1 |  | Channel6 | 104.8 | 2016-02-26 11:43 | 2016-02-26 11:33 | 2016-02-26 11:38 |  |  |  | 160226 | 1144 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | 0.040131 | 0.040249 | 154.8126 | 144.2683 | 0 | 0 | 0 | 0 | 0 | 0 | 0.081432 | 0.09623 | 0 | 0 | 0 | 0 | 151.1554 | 155.1048 | #VALUE! | #VALUE! | 0.049118 | 0.054337 | 130.5484 | 117.8062 | 132.2052 | 98.1293 | #DIV/0! | #DIV/0! | 94.8459 | #DIV/0! | 106.6218 | #VALUE! | 127.4427 | 53.4114 | 124.1115 | 82.4634 | 72.1536 | 105 | 1.9846 | 0.61209 | 195.5636 | 164.4953 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
20160224.0031 |  | 2016-02-26 12:22 | H-182 - LARGE (35L) CANISTER - DILUTED MID-WEIGHT STOCK | [7 empty] | LABGCFID-2V | SAMPLE-(10)-0.1-5--20-300C | Cylinder prepared for Pete and Katie |  |  |  |  | 2016-02-26 12:39 |  | - | 1 | 3 | 76.4 | C:\Program Files (x86)\Markes International\Bonanza\Methods\SAMPLE-(800)-10-10--20-300C.mth | 9.8 | 0.2 | 31 | 6 | N2 | Sample02_1 |  | Channel6 | 104.1 | 2016-02-26 12:27 | 2016-02-26 12:17 | 2016-02-26 12:22 |  |  |  | 160226 | 1238 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 153.5773 | 141.2626 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 152.2887 | 155.415 | #VALUE! | #VALUE! | 0.034121 | 0.050052 | 133.0855 | 118.8591 | 134.0367 | 99.9157 | #DIV/0! | #DIV/0! | 97.5545 | #DIV/0! | 109.9089 | #VALUE! | 131.9332 | 55.3173 | 127.7375 | 84.855 | 35014.5043 | 66197.6633 | 0.29978 | 0.22026 | 190.1516 | 172.6706 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
AVERAGE | [43 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | 0.034288 | 0.033206 | 154.1072 | 142.773 | 0 | 0 | 0 | 0 | 0 | 0 | 0.057224 | 0.066084 | 0 | 0 | 0 | 0 | 151.0129 | 155.0896 | #VALUE! | #VALUE! | 0.041325 | 0.052064 | 131.0063 | 117.725 | 132.5237 | 98.5255 | #DIV/0! | #DIV/0! | 95.2257 | #DIV/0! | 107.461 | #VALUE! | 128.6223 | 53.7816 | 125.0822 | 83.1547 | 11724.5368 | 22136.2982 | 1.5636 | 0.50215 | 193.3965 | 166.3153 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
STDEV | [43 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | #DIV/0! | #DIV/0! | 0.031773 | 0.030305 | 0.63608 | 1.5029 | 0 | 0 | 0 | 0 | 0 | 0 | 0.049753 | 0.057303 | 0 | 0 | 0 | 0 | 1.3527 | 0.33336 | #VALUE! | #VALUE! | 0.0075161 | 0.0021541 | 1.8922 | 1.1768 | 1.3815 | 1.2405 | #DIV/0! | #DIV/0! | 2.164 | #DIV/0! | 2.1546 | #VALUE! | 2.9066 | 1.3882 | 2.3271 | 1.4811 | 20169.7049 | 38158.2616 | 1.1146 | 0.24608 | 2.8625 | 5.6688 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
%STDEV | [43 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! | #VALUE! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.92663 | 0.91263 | 0.0041275 | 0.010526 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.86944 | 0.86713 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.0089576 | 0.0021495 | #VALUE! | #VALUE! | 0.18188 | 0.041373 | 0.014443 | 0.0099965 | 0.010425 | 0.01259 | #DIV/0! | #DIV/0! | 0.022725 | #DIV/0! | 0.02005 | #VALUE! | 0.022598 | 0.025812 | 0.018605 | 0.017811 | 1.7203 | 1.7238 | 0.71287 | 0.49006 | 0.014801 | 0.034085 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
N | [43 empty] | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 0 | 0 | 3 | 3 | 3 | 3 | 0 | 0 | 3 | 3 | 0 | 0 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 0 | 0 | 3 | 3 | 3 | 3 | 3 | 3 | 0 | 0 | 3 | 0 | 3 | 0 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0
SUMMARY
n-pentane | 154.1072
n-heptane | 151.0129
n-octane | 131.0063
toluene | 132.5237
n-nonane | 95.2257
ethylbenzene | 107.461
mpxylene | 128.6223
oxylene | 125.0822
Formulas:
date&time = [mid sample time]